Recordall® Meters
Disc Series Meters M25, M35, M55, M70
Polymer Disc Series Meters
Disc Series Meters M120, M170
Turbo Series Meters
Compound Series Meters
Combo Series Meters
Fire Series Meter (FSMA)
Fire Series Assembly (FSAA)
Fire Hydrant Meter
Portable Large Meter Tester (PLMT)
Can't find what you are looking for, give us a call 800-875-0280

---
Parts List
CONTENTS
Disc Series Meters, Lead Free Bronze Alloy, Models 25, 35, 55, 70
and Model 25 Engineered Polymer (EP)
4
Disc Series Meters, Lead Free Bronze Alloy, Models 120, 170
6
Turbo Series Meters, Lead Free Bronze Alloy & Cast Iron, Models 160 (1-1/2 in ) 200 (2 in ) 450 (3 in )1000 (4 in )
7
Turbo Series Meters, Lead Free Bronze Alloy & Cast Iron, Models 2000 (6 in ) 3500 (8 in ) 5500 (10 in ) 6200 (12 in ) 8
Compound Series Meters, Lead Free Bronze Alloy, Sizes 2, 3, 4, 6 in
9
Combo Meters, Lead Free Bronze Alloy, Size 8 in 11
Combo Meter Check Valve 12
Fire Series Meters (FSMA), Cast Iron, Sizes 3, 4, 6, 8, 10 in 13
FSMA Measuring Element Assembly, 3 and 4 in
14
FSMA Measuring Element Assembly, 6, 8, 10 in
15
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron, Sizes 4, 6, 8, 10, 12 in 16
FSAA with Turbine Bypass and Optional (2) Shutoff Valves, Cast Iron, 6, 8, 10,12 in
18
FSAA with Disc Bypass (1 in Model 70 HD Meter), Lead Free Bronze Alloy, 4, 6 in
19
Disc Bypass (1-1/2 or 2 in Model 170 HD Meter), Lead Free Bronze Alloy, 6, 8, 10 in
20
FSAA Check Valve
21
Fire Hydrant Meters, Size 3 in
22
Portable Large Meter Tester (PLMT) 24
Accessories
25
December 2025
FHM-PS-00851-EN-04
Page iii

---
Disc Series Meters, Lead Free Bronze Alloy, Models 25, 35, 55, 70 and Model 25 Engineered Polymer (EP)
DISC SERIES METERS, LEAD FREE BRONZE ALLOY, MODELS 25, 35, 55, 70
AND MODEL 25 ENGINEERED POLYMER (EP)
Model 25, 35, 55, 70 Disc Meter
5
3
2
1
7a
7b
10a 10b 10c 10d
Model 25 Engineered Polymer (EP)
8
7c
See Parts List on next page.
Page 4
RDM-PS-05314-EN-01

---
Disc Series Meters, Lead Free Bronze Alloy, Models 25, 35, 55, 70 and Model 25 Engineered Polymer (EP)
Disc Series, Lead Free Bronze Alloy – Models 25, 35, 55, 70 and Model 25 Engineered Polymer (EP)
Part Numbers
Item
Description
Model 25
Model 35
Model 55
Model 70
Model 25EP
Chamber assembly, plastic w/plastic thrust roller
33334-009
33334-029
65553-003
33334-032
33334-009
Chamber assembly, plastic w/stainless steel thrust roller
—
—
—
33334-016
—
*Chamber assembly, LCP, coated magnet, Viton seals
58908-006*
—
—
63079-002*
—
*Chamber assembly, LCP, coated magnet, EPR seals
58908-010*
—
—
—
—
Chamber assembly, plastic, for “RECLAIMED” water
33334-038
33334-040
65553-004
33334-042
—
(not shown)
Combined strap and screen
64942-001
—
—
59186-001
—
Screen
—
59805-001
65619-001
—
34333-001
Chamber retainer strap
—
58540-001
58540-001
—
34547-001
*Chamber retainer spring slip (high temp only)
ns
62695-001*
—
—
62695-002*
—
2 required
Housing gasket
11071-033
59782-001
65592-001
58769-001
—
*Housing gasket, Viton
11071-045*
—
—
58769-002*
—
Housing bottom liner (for cast iron)
57800-001
59786-001
65618-001
58770-001
—
7a
Housing bottom, cast iron
57799-001
59785-001
65654-001
59293-002
—
7b
Housing bottom (BiA)
62635-005
59784-005
65617-003
59703-006
—
7c
Housing bottom
—
—
—
34529-001
Housing bottom, plastic
64428-001
—
—
—
Housing bottom O-ring seal
—
—
—
—
22650-047
Retainer ring
 34526-001
10a
430SS Housing bolt for plastic bottom
58396-001
—
—
—
—
10b
430SS Housing bolt w/ seal hole for plastic bottom
58396-002
—
—
—
—
10c
430SS Housing bolt for bronze and CI bottom
62777-001
62777-001
62777-001
—
—
430SS Housing bolt w/ seal hole for bronze and
10d
59058-001
59058-001
59058-001
59733-001
—
CI bottom
O-ring for chamber
22650-045
22650-056
22650-060
22650-057
22650-045
* Industrial Disc Meters Part
ns = not shown
Page 5

---
Disc Series Meters, Lead Free Bronze Alloy
DISC SERIES METERS, LEAD FREE BRONZE ALLOY
Models 120, 170
Disc Series, Lead Free Bronze Alloy – Models 120, 170
Model 120
Model 170
Chamber assembly with strap with stainless steel thrust roller
33334-017
33334-028
Chamber assembly complete with strap for “RECLAIMED” water
33334-044
33334-046
*Chamber assembly, LCP, coated magnet, Viton seals
63175-002*
—
Chamber retainer strap
56188-001
56188-001
*Chamber retainer spring slip (high temp only) 2 required
62695-002*
—
Screen
62172-001
59720-001
Housing gasket
62171-001
59722-001
*Housing gasket, Viton
62171-002*
—
Housing cover (lead free bronze alloy)
62176-001
59719-005
430SS Housing bolt
59732-001
59732-001
1 in Test plug (lead free bronze alloy)
33879-016
33879-016
O-ring for chamber
22650-058
22650-059
* Industrial Disc Meters Part
Page 6

---
Turbo Series Meters, Lead Free Bronze Alloy & Cast Iron
TURBO SERIES METERS, LEAD FREE BRONZE ALLOY & CAST IRON
Models 160 (1-1/2 in. ), 200 (2 in. ), 450 (3 in.), 1000 (4 in. )
14a
14b
10
12
13
11
NOTE:
NOTE:
Service Element Assembly (item 6)
Service Element Assembly (item 6)
components are outlined in red.
components are outlined in red.
Turbo Series, Lead Free Bronze Alloy & Cast Iron – Models 160 (1-1/2 in. ), 200 (2 in. ), 450 (3 in.), 1000 (4 in. )
1-1/2 in.
2 in.
3 in.
4 in.
O-ring, calibration shaft
62754-001
62754-001
62754-001
62754-001
Seal plug, calibration shaft
62793-001
62793-001
62793-001
62793-001
Lock screw, calibration shaft
68291-001
68291-001
68291-001
68291-001
Calibration shaft
68288-001
68288-001
68288-001
68288-001
Cover plate (LL)
66131-002
66131-002
66132-002
66132-002
Service element assembly
62755-038
62755-042
62755-039
62755-043
Service element assembly (for models with integral strainer)
62755-042
62755-042
62755-039
62755-043
O-ring, head
62754-002
62754-002
62754-003
62754-003
Cage seal
62924-001
62924-001
62924-002
62924-002
Strainer cover (LL) (for models with integral strainer)
62635-005
63233-003
63281-003
63281-003
Cover bolt (for models with integral strainer)
55031-033
55031-060
55031-062
55031-062
Screen (for models with integral strainer)
63115-001
63277-001
63283-001
63285-001
12
Housing gasket (for models with integral strainers)
11071-033
22650-050
22650-051
22650-051
13
Washer for strainer cover (for models with integral strainer)
—
55262-015
55262-015
55262-015
14a
Seal bolt hex head (1 required)
25421-043
25421-043
25421-034
25421-034
14b
Bolt hex head (3 required)
55031-060
55031-060
55031-116
55031-116
Test plug
33879-016
33879-014
33879-012
33879-012
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service Representative for availability
Page 7

---
Turbo Series Meters, Lead Free Bronze Alloy & Cast Iron
TURBO SERIES METERS, LEAD FREE BRONZE ALLOY & CAST IRON
Models 2000 (6 in.), 3500 (8 in.), 5500 (10 in.), 6200 (12 in.)
NOTE:
Service Element Assembly (item 6)
components are outlined in red.
Turbo Series, Lead Free Bronze Alloy & Cast Iron – Models 2000 (6 in. ), 3500 (8 in. ), 5500 (10 in.), 6200 (12 in. )
6 in.
8 in.
10 in.
12 in.
O-ring, calibration shaft
62754-001
62754-001
62754-001
62754-001
Seal plug, calibration shaft
62793-001
62793-001
62793-001
62793-001
Lock screw, calibration shaft
68291-001
68291-001
68291-001
68291-001
Calibration shaft
68289-001
68290-001
68290-001
68290-001
Cover plate (LL)
66133-002
66134-002
66134-002
66134-002
Service element assembly
62755-040
62755-041
62755-044
62755-044
O-ring, head
62754-004
62754-005
62754-005
62754-005
Cage seal
62924-003
62924-004
—
—
Seal bolt hex head (6 in , 1 required; 8…12 in , 2 required)
25421-044
58088-004
58088-004
58088-004
Bolt hex head (6 in , 7 required; 8…12 in , 8 required)
55031-117
55031-172
55031-172
55031-172
Eyebolt
59215-039
59215-067
59215-067
59215-067
Test plug
33879-012
33879-012
—
—
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service Representative for availability
Page 8

---
Compound Series Meters, Lead Free Bronze Alloy
COMPOUND SERIES METERS, LEAD FREE BRONZE ALLOY
Sizes 2, 3, 4, 6 in.
Compound Series 2, 3, 4, 6 in.
12
15
2b
2a
2c
2d
2e
2f
13
14
See Parts List on next page.
Page 9

---
Compound Series Meters, Lead Free Bronze Alloy
Compound Series, Lead Free Bronze Alloy – 2, 3, 4, 6 in.
2 in.
3 in.
4 in.
6 in.
Valve assembly
64128-002
64066-002
64131-002
64134-002
2a
Chamber assembly
33334-023
33334-023
33334-056
33334-056
2b
Screen
64081-001
—
64142-001
64142-001
2c
Chamber retainer strap
58540-001
—
58540-001
58540-001
Combined screen and strap
—
64942-001
—
—
2d
Housing gasket
11071-033
11071-033
59782-001
59782-001
2e
Cover plate
64080-001
64080-001
64141-001
64141-001
2f
Screw
55115-001
55115-001
55115-002
55115-002
O-ring EPDM (new style - not shown)
64083-006
64083-008
64083-008
64083-010
O-ring old style (shipped before
64083-002
May 15, 2015)
O-ring EPDM
64083-007
64083-003
64083-009
64083-011
Lock pawl
64078-001
64078-001
64078-001
64078-001
Bolt hex head
55031-060
55031-116
55031-116
55031-117
Bolt hex head
55031-060
55031-060
55031-116
55031-117
Seal bolt hex head
25421-043
25421-043
25421-034
25421-044
Seal bolt hex head
25421-043
25421-034
25421-034
25421-044
Cage seal
62924-001
62924-002
62924-002
62924-003
O-ring
62754-002
62754-003
62754-003
62754-004
12
Calibration plug
62793-001
62793-001
62793-001
62793-001
13
Lifting ring (optional)
62736-001
62736-001
62736-001
62736-001
14
Drain plug
33879-015
33879-015
33879-015
33879-015
15
Test plug
33879-014
33879-014
33879-012
33879-012
Flange adapter kit (2 in elliptical fl ) (BiA)
64186-001
—
—
—
Flange adapter kit (round fl ) (BiA)
64186-002
—
64186-003
—
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service Representative for availability
Page 10

---
Combo Meters, Lead Free Bronze Alloy
COMBO METERS, LEAD FREE BRONZE ALLOY
Size 8 in.
8 in. Cl Turbo Series, Combo Meter
18
15
16
19
17
M120 Disc Series Elliptical Long Bypass Meter
(Optional)
2 Valve Bypass View
12
13
14
12
13
14
Combo Meters, Lead Free Bronze Alloy, 8 in. Bypass Components Head Assemblies
Spool piece (lay length 11-7/8 in )
63893-002
8 in check valve
63889-012
Close nipple 1 5 in (2 required)
14711-137
Ball valve with locking handle
26506-028
Street elbow 1 5 in
65046-006
Half nipple 1 5 × 6 in , 1 Thd
63886-015, 63886-006*
Gasket, elliptical 1 5 in (2 required)
03240-000
Bushing, 2 × 1 5 in
22779-034
2 in Swing check valve
26506-018
Street elbow 2 in
65046-004
2 × 4-1/2 in nipple
14711-140, 14711-138*
12
Bolt, 5/8-11 × 2-1/4 in (4 required)
55026-174
13
Nut, 5/8-11 (4 required)
55001-061
14
Washer, 5/8 in (8 required)
55254-019
15
Bolt, 3/4-10 × 3 (16 required)
55026-204
16
Nut, 3/4-10 (12 required)
55001-062
17
Hex head bolt 3/4-10 × 2-1/4 in (4 required)
55031-201
18
Gasket, circular, 8 in (2 required)
11071-012
19
Washer, 3/4 in (28 required)
55254-021
NOTE: For Disc Meter parts used in this assembly, see “Disc Series Meters, Lead Free Bronze Alloy” on page 6. For Turbo Meter parts used in this assembly, see “Turbo Series Meters,
Lead Free Bronze Alloy & Cast Iron” on page 8.
* Optional Bypass part number
Page 11

---
Fire Series Meters (FSMA), Cast Iron
Combo Meters, Lead Free Bronze Alloy
Combo Meter Check Valve
Knuckle Joint Assembly
     (Complete Unit)
Combo Meter Check Valve
Knuckle joint assembly, complete unit
63892-003
Lead free bronze alloy seat (replaceable in line)
63892-011
Seat O-ring
63892-016
Gasket
63892-021
Check removal tool
63892-024
Vent screw
65006-001
Nylon washer
63892-018
Test plug
33879-012
Bolt
55026-204
Washer
55254-021
Nut
55001-062
Cover
63892-038
Page 12

---
Fire Series Meters (FSMA), Cast Iron
FIRE SERIES METERS (FSMA), CAST IRON
Sizes 3, 4, 6, 8, 10 in.
UL Certified & FM 1044 Standard Approved for Fire Service Applications NSF/ANSI Standards 61 and 372 Certified
For 6 in. size only
For 6 and 8 in. sizes only
Fire Service Meters (FSMA), Cast Iron – 3, 4, 6, 8, 10 in.
3 in.
4 in.
6 in.
8 in.
10 in.
Gasket
11071-009
11071-010
11071-011
11071-012
11071-013
Bolt
55026-175
55026-175
55001-202
55026-204
55026-232
Nut
55001-061
55001-061
55001-062
55001-062
55001-063
Washer
55254-019
55254-019
55254-021
55254-021
55254-023
Jam nut
—
—
63891-001
63891-001
—
Stud
—
—
63894-001
63894-001
—
Strainer cover O-ring
63892-041
63892-041
63892-033
63892-034
63892-035
Page 13

---
Fire Series Meters (FSMA), Cast Iron
FSMA Measuring Element Assembly – 3 and 4 in.
9a
9b
NOTE:
NOTE:
Service Element Assembly (item 6)
Service Element Assembly (item 6)
components are outlined in red.
components are outlined in red.
FSMA Measuring Element Assembly – 3, 4 in.
3 in.
4 in.
O-ring, calibration shaft
62754-001
62754-001
Seal plug, calibration shaft
62793-001
62793-001
Lock screw, calibration shaft
68291-001
68291-001
Calibration shaft
68288-001
68288-001
Cover plate (LL)
66132-002
66132-002
Service element assembly
62755-062
62755-062
O-ring, head
62754-003
62754-003
Cage seal
62924-002
62924-002
9a
Seal bolt hex head (1 required)
25421-034
25421-034
9b
Bolt hex head (3 required)
55031-116
55031-116
Test plug
33879-012
33879-012
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service Representative
 for availability
Page 14

---
Fire Series Meters (FSMA), Cast Iron
FSMA Measuring Element Assembly – 6, 8, 10 in.
NOTE:
Service Element Assembly (item 6)
components are outlined in red.
FSMA Measuring Element Assembly – 6, 8, 10 in.
6 in.
8 in.
10 in.
O-ring, calibration shaft
62754-001
62754-001
62754-001
Seal plug, calibration shaft
62793-001
62793-001
62793-001
Lock screw, calibration shaft
68291-001
68291-001
68291-001
Calibration shaft
68289-001
68290-001
68290-001
Cover plate (LL)
66133-002
66134-002
66134-002
Service element assembly
62755-063
62755-064
62755-065
Head O-ring
62754-004
62754-005
62754-005
Cage seal
62924-003
62924-004
—
Seal bolt hex hd (6 in , 1 required; 8 and 10 in , 2 required)
25421-044
58088-004
58088-004
Bolt hex hd (6 in , 7 required; 8 and 10 in , 8 required)
55031-117
55031-172
55031-172
Eyebolt
59215-039
59215-067
59215-067
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service
Representative for availability
Page 15

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
FIRE SERIES ASSEMBLY (FSAA) METERS WITH TURBINE BYPASS, CAST IRON
Sizes 4, 6, 8, 10, 12 in.
UL Certified & FM 1044 Standard Approved for Fire Service Applications NSF/ANSI Standards 61 and 372 Certified
21
22
21
22
Nameplate
contains
disc code
19
18*
20
12
17
13
13
14
15
16
12
8b
8a
22
See Parts List on next page.
Page 16

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
Fire Series Assembly (FSAA) with Turbine Bypass, Cast Iron – 4, 6, 8, 10, 12 in.
4 in.
6 in.
8 in.
10 in.
12 in.
Strainer
—
—
—
—
—
Gasket
11071-010
11071-011
11071-012
11071-013
11071-013
Bolt
55026-175
55026-203
55026-204
55026-232
55026-232
Nut
55001-061
55001-062
55001-062
55001-063
55001-063
Washer
55254-019
55254-021
55254-021
55254-023
55254-023
Check valve
63889-001
63889-011
63889-012
63889-013
63889-014
Nipple
14711-138
*14711-152
*14711-155
14711-155
14711-155
8a
Ball valve with non-locking handle
26506-026
26506-026
26506-026
26506-026
26506-026
8b
Optional locking handle
26506-016
26506-016
26506-016
26506-016
26506-016
Street elbow
65046-004
65046-004
65046-004
65046-004
65046-004
Half nipple
63886-010
63886-007
63886-009
63886-009
63886-009
Repair coupling
63887-008
63887-008
63887-008
63887-008
63887-008
12
Flange
67632-014
67632-014
67632-014
67632-014
67632-014
13
O-ring
31132-055
31132-055
31132-055
31132-055
31132-055
14
Bolt
55026-174
55026-174
55026-174
55026-174
55026-174
15
Nut
55001-061
55001-061
55001-061
55001-061
55001-061
16
Washer
55254-019
55254-019
55254-019
55254-019
55254-019
17
2 in Turbo series meter
—
—
—
—
—
18*
Check valve
26506-031
26506-018
26506-018
26506-018
26506-018
19
Nipple
*14711-157
14711-138
14711-138
14711-155
14711-155
20
Nipple
14711-138
14711-138
14711-140
14711-156
14711-156
21
Stud
—
63894-001
63894-001
—
—
22
Jam nut
—
63891-001
63891-001
—
—
* If replacing item 18 and the check valve date code is prior to 11/2005, any part numbers with (*) must also be replaced
N
OTE:
Strainers can be ordered through the configurator Contact a Customer Service Representative for availability
Page 17

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
FSAA with Turbine Bypass and Optional (2) Shutoff Valves, Cast Iron – 6, 8, 10,12 in.
2b
2a
FSAA with Turbine Bypass and Optional (2) Shutoff Valves, Cast Iron – 6, 8, 10, 12 in.
6 in.
8 in.
10 in., 12 in.
Nipple
14711-157
14711-155
14711-152
2a
Ball valve with non-locking handle
26506-026
26506-026
26506-026
2b
Optional locking handle
26506-016
26506-016
26506-016
Half nipple
*63886-012
*63886-012
63886-009
Repair coupling
63887-008
63887-008
63887-008
5*
Check valve
26506-018
26506-018
26506-018
Nipple
14711-152
14711-138
14711-155
Nipple
14711-138
14711-138
14711-142
Brass tee
64159-004
64159-004
64159-004
Test plug
33879-012
33879-012
33879-012
Nipple
14711-138
14711-138
14711-138
Nipple
14711-138
14711-138
14711-142
* If replacing item 5 and the check valve date code is prior to 11/2005, any part numbers with (*) must also be replaced
Page 18

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
FSAA with Disc Bypass (Model 70 HD Meter, 1 in.), Lead Free Bronze Alloy – 4, 6 in.
13
2a
4 in. size only
2b
6 in. size only
12
FSAA with Disc Bypass (Model 70 HD meter, 1 in.), Lead Free Bronze Alloy – 4, 6 in.
4 in.
6 in.
Nipple
14711-160
14711-157
2a
Ball valve with non-locking handle
26506-024
26506-026
2b
Optional locking handle
26506-015
26506-016
Connection assembly
07562-007
07562-007
Repair coupling
63887-009
63887-008
1 in Model 70 head meter
See table below
See table below
6*
Check valve
26506-022
26506-018
Nipple
14711-160
14711-152
Connection assembly
07561-019
07561-019
Brass tee
64159-005
64159-004
Test plug
33879-016
33879-012
Nipple
—
14711-138
12
Half nipple
*63886-014
*63886-010
13
Reducer
63003-007
63003-007
* If replacing item 6 and the check valve date code is prior to 11/2005, any part numbers with (*) must also be replaced
Model 70 HD meter – 1 in.
Screen
59186-001
Chamber assembly
33334-005
Housing gasket
58769-001
Bolt hex hd
55031-065
Seal bolt hex hd
25421-045
Page 19

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
Disc Bypass (Model 170 HD Meter, 1-1/2 or 2 in. ), Lead Free Bronze Alloy – 6, 8, 10 in.
2a
2a
2b
13
2b
14
17
16
12*
15
18
N
OTE:
The illustration above is an 8 inch bypass configuration Position of some components may vary per meter size, but part
description and numbers are consistent
Disc Bypass (Model 170 HD Meter, 1-1/2 or 2 in.), Lead Free Bronze Alloy – 6, 8, 10 in.
6 in.
8 in.
10 in., 12 in.
Nipple
*14711-133
14711-138
14711-154
2a
Ball valve with non-locking handle
26506-026
26506-026
26506-026
2b
Optional locking handle
26506-016
26506-016
26506-016
Street elbow
65046-004
65046-004
65046-001
Nipple
14711-154
*14711-150
14711-141
Repair coupling
63887-008
63887-008
63887-008
Flange
67632-014
67632-014
67632-014
O-ring
31132-055
31132-055
31132-055
Bolt
55026-174
55026-174
55026-174
Nut
55001-061
55001-061
55001-061
Washer
55254-019
55254-019
55254-019
Connection assembly
See table below
See table below
See table below
12*
Check valve
26506-018
26506-018
26506-018
13
Nipple
14711-138
14711-152
14711-155
14
Nipple
14711-138
14711-138
*14711-150
15
Brass tee
64159-004
64159-004
64159-004
16
Test plug
33879-012
33879-012
33879-012
17
Nipple
14711-138
14711-138
14711-138
18
Half nipple
63886-001
63886-001
63886-006
* If replacing item 12 and the check valve date code is prior to 11/2005, any part numbers with (*) must also be replaced
Model 170 HD Meter, 1-1/2, 2 in.
1-1/2 in.
2 in.
Screen
59720-001
59720-001
Chamber assembly
33334-028
33334-028
Chamber retainer strap
56188-001
56188-001
Housing gasket
59722-001
59722-001
Seal bolt hex hd
25421-046
25421-046
Bolt hex hd
55031-119
55031-119
Page 20

---
Fire Series Assembly (FSAA) Meters with Turbine Bypass, Cast Iron
FSAA Check Valve
1 -
Knuckle Joint Assembly
     (Complete Unit)
10a
10b
FSAA Check Valve
4 in.
6 in.
8 in.
10 in., 12 in.
Knuckle joint assembly, complete unit
63892-001
63892-002
63892-003
63892-003
Gasket (effective 5/2014 or later)
63892-062
—
—
—
Gasket (effective 4/2014 or later)
—
63892-063
63892-064
63892-064
Old style gasket
63892-019
63892-020
63892-021
63892-021
Check removal tool
63892-022
63892-023
63892-024
63892-024
Vent screw
65006-001
65006-001
65006-001
65006-001
Nylon washer
63892-018
63892-018
63892-018
63892-018
Test plug
33879-012
33879-012
33879-012
33879-012
Bolt
55026-175
55026-204
55026-204
55026-204
Washer
55254-019
55254-021
55254-021
55254-021
Nut
55001-061
55001-062
55001-062
55001-062
10a
Cover
63892-036
63892-037
63892-038
63892-040
10b
Optional cover with test plug
65913-004
65913-005
65913-006
65913-006
Lead free bronze alloy seat (replaceable in line)
63892-009
63892-010
63892-011
63892-011
Seat O-ring
63892-014
63892-015
63892-016
63892-016
Page 21

---
Fire Hydrant Meters
FIRE HYDRANT METERS
Size 3 in.
9a
9b
12
13
NOTE:
Service Element Assembly (item 6)
components are outlined in red.
14
18
17
16
21
22
15
20
19
*
*
Optional alternative parts
23
for item 18
24
See Parts List on next page.
Page 22

---
Fire Hydrant Meters
Fire Hydrant Meter, 3 in.
Part Number
O-ring, calibration shaft
62754-001
Seal plug, calibration shaft
62793-001
Lock screw, calibration shaft
62976-004
Calibration shaft
62976-003
Cover plate
66132-002
Service element assembly
62755-039
O-ring, head
62754-003
Cage seal
62924-002
9a
Seal bolt hex head (1 required)
25421-034
9b
Bolt hex head (3 required)
55031-116
Cover, register, bronze
58647-001
Retainer, flat
59542-001
12
Pin, cover
59568-001
13
Base ring w/lock hasp
59525-004
14
Handle (2 required)
63129-001
15
Gasket, swivel coupling
59677-001
16
Connection assembly, swivel, NH (other thread forms available upon request)
63180-001
17
Screen
63131-001
Nipple reducer, 3 in NPT × 2-1/2…7-1/2 in NH (other thread forms available upon request), bronze
25724-000
18
Nipple reducer, 3 in NPT × 2-1/2…7-1/2 in NH (other thread forms available upon request), lead free
25724-014
bronze alloy
Pipe bushing hex 3 × 2 in NPT (for use with 2 in gate valve), stainless steel
22779-027
19*
Pipe bushing hex 3 × 2-1/2 in NPT (for use with 2-1/2 in gate valve), stainless steel
22779-029
Nipple, 2 in NPT × 2 long (for use with 2 in gate valve), brass
14711-138
20*
Nipple, (for use with 2-1/2 in gate valve), brass
14711-161
Valve, gate 2 in , bronze
26506-040
21*
Valve, gate 2-1/2 in , lead free bronze alloy
26506-017
Fire hose reducer, 2 in NPT x 2-1/2…7-1/2 in NH (for use with 2 in gate valve), bronze
26505-000
Fire hose reducer, 2 in NPT x 2-1/2…7-1/2 in NH (for use with 2 in gate valve), lead free bronze alloy
26505-006
22*
Fire hose reducer, 2-1/2 in NPT x 2-1/2…7-1/2 in NH (for use with 2-1/2 in gate valve), bronze
63000-001
Fire hose reducer, 2-1/2 in NPT x 2-1/2…7-1/2 in NH (for use with 2-1/2 in gate valve), lead free
63000-002
bronze alloy
23*
2 in silent seat check valve with S S springs
62037-002
24
Spanner wrench
62115-001
Test plug
33879-012
* Alternative parts for item 18
N
OTE:
Head assemblies complete can be ordered through the configurator Contact a Customer Service
Representative for availability
Page 23

---
Portable Large Meter Tester (PLMT)
PORTABLE LARGE METER TESTER (PLMT)
Optional
Optional
Portable Large Meter Tester (PLMT)
Ball valve kit (includes valve and nipple)
26506-046
Butterfly valve with handle and 10-position detent (internal valve not shown)
26506-042
Butterfly valve with gearbox operator
26506-043
Tee flow combiner, includes hose Item 7
68250-001
3/4 in rubber hose (FHGT double female thread), optional
68223-003
ER-9 with cover
65848-006
ER-9 gasket kit (kit includes gasket, gasket with clear lens, alcohol wipe)
68282-001
ER-9 travel cover
64236-001
Spanner wrench
62115-001
12 5 ft fire hose with coupling
62994-001
2-1/2 MNST × 1-1/2 MNPT
63006-001
Hose reducer
2-1/2 MNST × 2 MNPT
63004-001
2-1/2 MNST × 1 MNPT
63018-001
Hose cap, 3/4 in FGHT with gasket
68223-002
Page 24

---
Accessories
ACCESSORIES
1c
1c
2b
2a
1b
2d
2c
1d
1a
5a
5b
Accessories
1a
Register flat lid (plastic) medium gray
62278-003
Register flat lid (purple) “RECLAIMED”
62740-001
1b
Register flat lid and shroud (bronze)
62616-001
1c
Register flat lid (bronze)
62353-001
1d
Register shroud (bronze)
62442-001
2a
Tamper-resistant slotted seal screw, standard (for local register, HR-E)
62335-001
2b
Tamper-resistant slotted seal screw, standard (for HR-E LCD encoder)
62624-001
2c
Tamper-resistant TORX® seal screw (for local register,HR-E)
62516-001
2d
Tamper-resistant TORX® seal screw (for HR-E LCD encoder)
62516-002
Tamper-resistant keyed seal screw, standard (for local register, HR-E)
66925-001
Tamper-resistant keyed seal screw, short (for HR-E LCD encoder)
66925-003
Plastic insert for flat lid bronze shroud
62455-001
Flat lid hinge pin
59568-003
5a
TORX® seal screw driver & bit (stubby)
62658-001
5b
TORX® seal screw driver & bit (long)
62658-003
TORX® seal screw driver bit (not shown)
62657-001
Driver bit, keyed seal screw (not shown)
66925-002
Bit driver, stubby, without bit (not shown)
62658-005
Bit driver, standard, without bit (not shown)
62658-006
Local register test ring
62446-001
Plastic shroud disassembly tool
62346-001
Page 25